Nazwa przedmiotu:

Electrical Machines Lab

Koordynator przedmiotu:

dr inż. Wiesław Partyka, w.partyka@ime.pw.edu.pl, tel. +48222347542

Status przedmiotu:

Obowiązkowy

Poziom kształcenia:

Studia I stopnia

Program:

Electrical Engineering

Grupa przedmiotów:

Obligatory

Kod przedmiotu:

IME

Semestr nominalny:

5 / rok ak. 2009/2010

Liczba punktów ECTS:

4

Liczba godzin pracy studenta związanych z osiągnięciem efektów uczenia się:

Liczba punktów ECTS na zajęciach wymagających bezpośredniego udziału nauczycieli akademickich:

Język prowadzenia zajęć:

polski

Liczba punktów ECTS, którą student uzyskuje w ramach zajęć o charakterze praktycznym:

Formy zajęć i ich wymiar w semestrze:

| Wykład: | 0h |
| --- | --- |
| Ćwiczenia: | 0h |
| Laboratorium: | 45h |
| Projekt: | 0h |
| Lekcje komputerowe: | 0h |

Wymagania wstępne:

Electrical Machines

Limit liczby studentów:

Cel przedmiotu:

Knowledge of the most important characteristics of electromechanical energy converters. Practically grounded skills in connecting very complicated electrical circuits, in measuring all electrical and mechanical quantities of real power apparatus.

Treści kształcenia:

3-phase transformer tests: no-load, short-circuit and load operation. Determination of connection group of 3-phase transformer.
Induction motors. No-load characteristics and starting torques. Operation under load and temperature-rise test. Speed control by means of frequency variation. Single-phase induction motor characteristics.
Synchronous machines tests. Basic characteristics of synchronous motor and generator. Synchronisation procedure and generator operation with power system.
Universal motor tests.

Metody oceny:

Egzamin:

Literatura:

Partyka W.: Electrical Machines Laboratory. Warsaw University of Technology handout. 2010.
El-Hawary M.E.: Principles of electric machines with power electronic applications. John Wiley&Sons, 2002.
Fitzgerald A., Kingsley C., Umans S.: Electric machinery. McGraw-Hill, 1983.
Say M.G.: Alternating current Machines. Direct current machines. Pitman Publishing, 1976.
Nasar S., Unnewher L.: Electromechanics and Electric Machines. John Wiley&Sons, 1979. Handbook on Electrical Engineering.

Witryna www przedmiotu:

Uwagi:

## Efekty przedmiotowe