Nazwa przedmiotu:

Introduction to Electrical Power Engineering

Koordynator przedmiotu:

prof. dr hab. inż. Szczęsny Kujszczyk, szczesny.kujszczyk@ien.pw.edu.pl, tel. +48222347312

Status przedmiotu:

Obowiązkowy

Poziom kształcenia:

Studia I stopnia

Program:

Electrical Engineering

Grupa przedmiotów:

Obligatory

Kod przedmiotu:

IEn

Semestr nominalny:

5 / rok ak. 2009/2010

Liczba punktów ECTS:

3

Liczba godzin pracy studenta związanych z osiągnięciem efektów uczenia się:

Liczba punktów ECTS na zajęciach wymagających bezpośredniego udziału nauczycieli akademickich:

Język prowadzenia zajęć:

polski

Liczba punktów ECTS, którą student uzyskuje w ramach zajęć o charakterze praktycznym:

Formy zajęć i ich wymiar w semestrze:

| Wykład: | 30h |
| --- | --- |
| Ćwiczenia: | 0h |
| Laboratorium: | 0h |
| Projekt: | 0h |
| Lekcje komputerowe: | 0h |

Wymagania wstępne:

Circuits and Systems
Electromagnetic Fields

Limit liczby studentów:

Cel przedmiotu:

The basic knowledge of electrical power engineering

Treści kształcenia:

1. Electric power system2. Generators of electric energy3. Electric energy quality4. Electric power lines and substations5. Electric power networks6. Power and energy in electric power system7. Short-circuits in electric power  systems      8.   Power system protection

Metody oceny:

Egzamin:

Literatura:

1. Willis, H. Lee, Distributed power generation, 20002. Boyle, Godfrey. Red., Managing energy demand, cop. 2003, Stoft, Steven, 3. Power system economics, cop. 2002 4. Dugan, Roger C., Electrical power systems quality, New York: MacGraw-Hill, 2002 5. Boyle Godfrey. Red., Renewable energy, 2004 6. Kasikci, Ismail, Short circuits in power systems: a practical quide to IEC 60909/ Ismail Kasikci, Weinheim: Wiley-VCH, 2002 7. 9. Berger, Arthur R., Power systems analysis/Arthur R. Bergen, Vijay Vittal, Upper Saddle River: Prentice-Hall, 20008. Christopoulos, Christos, Electrical power system protection, 19999. Gers, Juan M. Protection of electricity distribution networks, cop. 199810. Casazza, Jack, Understanding electric power system, 200311. Machowski, Jan., Białek J., Bumby J., Power System Dynamics and Stability, John Wiley and Sons, 199712. Lakerui, E., Electricity distribution network design, 1989

Witryna www przedmiotu:

Uwagi:

## Efekty przedmiotowe