Nazwa przedmiotu:

Power System Dynamics

Koordynator przedmiotu:

dr hab. inż. Sylwester Robak, sylwester.Robak@ien.pw.edu.pl, tel. +48222345607

Status przedmiotu:

Fakultatywny ograniczonego wyboru

Poziom kształcenia:

Studia I stopnia

Program:

Electrical Engineering

Grupa przedmiotów:

At choice

Kod przedmiotu:

IEn

Semestr nominalny:

6 / rok ak. 2009/2010

Liczba punktów ECTS:

3

Liczba godzin pracy studenta związanych z osiągnięciem efektów uczenia się:

Liczba punktów ECTS na zajęciach wymagających bezpośredniego udziału nauczycieli akademickich:

Język prowadzenia zajęć:

polski

Liczba punktów ECTS, którą student uzyskuje w ramach zajęć o charakterze praktycznym:

Formy zajęć i ich wymiar w semestrze:

| Wykład: | 30h |
| --- | --- |
| Ćwiczenia: | 0h |
| Laboratorium: | 0h |
| Projekt: | 0h |
| Lekcje komputerowe: | 0h |

Wymagania wstępne:

Basic knowledge about electrical power engineering and electric power systems. Basic knowledge about system dynamics

Limit liczby studentów:

Cel przedmiotu:

Understanding of electrical power systems dynamics. Understanding of different phenomena and types of stability related to power system.

Treści kształcenia:

Introductory issues: stability and control of a dynamic system, classification of power system dynamics, stability and security of power system. Power system components: structure of the electriacal power system, generation unites, subsataions,  transmission and distribution network. Power system in the steady state. Electromagnetic phenomena: three-phase short-circuit on a synchronous generator, phase-to-pfase short circuit, synchronization. Electromechanical dynamics- small disturbances: swing equqtion, steady –state stability of unregulated system, steady –state stability of regulated system. Electromechanical dynamics- large disturbances: transient stability, synchronization, asynchronous operation and resynchronization. Voltage stability: stsbility criteria, static analysis. Frequency stability and control: automatic generation control, primary and secondary of active power control. Stability enhancement.

Metody oceny:

Egzamin:

Literatura:

Machowski J, Bialek J.W., Bumby J.R.: Power system dynamics. Stabilioty and control. Wiley, 2008. Kundur P.: Power system stability and control. McGraw-Hill, NY, 1994. Lab: instruction brochure

Witryna www przedmiotu:

Uwagi:

## Efekty przedmiotowe